AED BATTERY MAINTENANCE POLICY

SAMPLE POLICY

(Organization)

I	SCOPE

The purpose of this document is to set policy for the maintenance and replacement of AED batteries.  Dead batteries are reported by the Food and Drug Administration (FDA) as the most common reason for AED device failure.

II	POLICY

It shall be the policy of (Organization) that someone will be assigned to check 			all AED batteries monthly and replace or recharge them according to the 				manufacturer recommendations.

III	PROCEDURE

      - Every AED shall be inspected using the guidelines listed below.  An inspection checklist will be provided for each AED and should be completed every time.

      - The AED Status Indicator Light should be visually inspected to verify current battery status (if applicable).  Defibrillation pad packages should be examined for expiration dating and damage.  Two sets of defibrillator pads should be available for use if possible.  Ensure all cables, cores and connectors are in good condition and void of any cuts, cracks, frays or bent pins.

      - Verify that the battery has not expired (review manufacturer guidelines).

      - Ensure that the unit is clean and void of any cracks or other signs of damage.

      - Evaluate the supplies that accompany the AED, (i.e. CPR mask, scissors, razors, towel, etc.) and ensure that there is an adequate supply of each.

      - Any problems or discrepancies should be reported immediately to the Officer in Charge of equipment and the AED should be placed ‘out of service’ (OOS) and replaced with another unit until.  All necessary repairs shall be handled by an authorized technician.

IV	GUIDELINES

[Enter your organization’s developed guidelines]

For further information on formulation of your business policies and procedures, please contact the Risk Management Department at 1-800-822-3747 Ext. 176.